## Cost Summary
LOWER KEYS MEDICAL CENTER
Facility Condition Assessment
2026-02-17
All costs shown as Future Value using a 3% average inflation rate
NEED YEAR | ANNUAL NEED
Deferred | 2424456.3173
2026 | 320195.1412
2027 | 2147724.4275
2028 | 396430.7137
2029 | 380174.6047
2030 | 2005008.6241
2031 | 138825.0794
2032 | 214490.8332
2033 | 83641.3106
2034 | 401291.6239
2035 | 670410.9107
2036 | 1923494.6104
2037 | 1737138.0012
2038 | 2074179.3122
2039 | 1482098.5213
2040 | 491967.8682
2041 | 2283516.3459
2042 | 3295528.0207
2043 | 570863.9961
2044 | 2390217.1005
2045 | 3689349.7005
2046 | 875811.9801
2047 | 13993343.9056
2048 | 3147507.8651
2049 | 2371593.2019
2050 | 1080408.4275
2051 | 1193073.9631
2052 | 13774423.3721
2053 | 249963.2733
2054 | 1380816.4683
2055 | 3575954.4076
30-YEAR NEEDS | 70763899.9277

## 30-Year Costs
LOWER KEYS MEDICAL CENTER
Facility Condition Assessment
2026-02-17
RECURRING NEEDS BY YEAR (YEARS 1-30)
All costs shown as Future Value using a 3% average inflation rate
COMPONENT | IDENTIFIER | LOCATION | UNIFORMAT II | QTY | UNIT | NEED COST | NEED YEAR
DECK, ELEVATED WOOD WASH AND STAIN | WOOD PATIO | DINING PATIO | B1010 | 300 | SF | 357.3437 | Deferred
GLASS, STOREFRONT | SINGLE-PANE ALUMINUM | DINING | B2010 | 110 | SF | 19165.5479 | Deferred
GLASS, WINDOW, ALUMINUM OR WOOD, STANDARD | SINGLE-PANE ALUMINUM | BLDG-WIDE | B2020 | 1950 | SF | 302290.1932 | Deferred
DOOR AND FRAME, EXTERIOR, SWINGING, ALUMINUM AND GLASS | FULL-LITE ALUMINUM | DINING PATIO | B2030 | 1 | LEAF | 3779.0473 | Deferred
DOOR AND FRAME, EXTERIOR, SWINGING, ALUMINUM AND GLASS | FULL-LITE ALUMINUM | BUSINESS BLDG | B2030 | 1 | LEAF | 3779.0473 | Deferred
DOOR AND FRAME, EXTERIOR, SWINGING, ALUMINUM AND GLASS | FULL-LITE ALUMINUM | AMBULANCE | B2030 | 2 | LEAF | 7558.0946 | Deferred
DOOR, EXTERIOR, SLIDING ENTRANCE SYSTEM, POWERED | FULL-LITE AUTO SLIDER | MAIN NORTH ENTRY | B2030 | 4 | EA | 98574.3546 | Deferred
DOOR, EXTERIOR, SLIDING ENTRANCE SYSTEM, POWERED | FULL-LITE AUTO SLIDER | ER ENTRY | B2030 | 2 | EA | 49287.1773 | Deferred
DOOR OPERATOR, POWER-ASSIST | OVERHEAD ELECTRIC | SELECT 2ND & 3RD FL POD ENTRIES | B2030 | 6 | EA | 53907.0376 | Deferred
DOOR OPERATOR, POWER-ASSIST | OVERHEAD ELECTRIC | SELECT 1ST FL CORRIDOR DOORS | B2030 | 11 | EA | 98829.5689 | Deferred
ROOF - BITUMINOUS, 3-PLY, SBS MODIFIED BITUMEN, MOP | MODIFIED BITUMEN, MINERAL-FACED | BUSINESS BLDG & MISC LOW ROOFS | B3010 | 8035 | SF | 245889.1441 | Deferred
TOILET PARTITION WITH ACCESSORIES | METAL | ANNEX BLDG RESTROOMS & MEN'S LOCKER RM | C1010 | 5 | SYS | 17058.2098 | Deferred
WALL FINISH - APPLIED, STANDARD | PAINTED, 2004 | BLDG-WIDE | C3010 | 85990 | SF | 252076.7232 | Deferred
WALL FINISH - APPLIED, PREMIUM | PAINTED, PREMIUM | PACU & SELECT WALLS | C3010 | 10750 | SF | 78965.7365 | Deferred
FLOORING - VINYL COMPOSITION TILE, STANDARD | VINYL TILE | BLDG-WIDE | C3020 | 20390 | SF | 171156.1766 | Deferred
FLOORING - VINYL COMPOSITION TILE, STANDARD | VINYL PLANK | BUSINESS BLDG | C3020 | 4040 | SF | 33912.2586 | Deferred
FLOORING - TILE, CERAMIC / STONE / QUARRY STANDARD | CERAMIC TILE | RESTROOMS BLDG-WIDE | C3020 | 7980 | SF | 332383.2588 | Deferred
PLUMBING FIXTURE - LAVATORY, COUNTER | PORCELAIN, INTEGRAL OR DROP-IN | 2ND & 3RD FL RMS & RESTROOMS | D2010 | 38 | EA | 39747.2657 | Deferred
PLUMBING FIXTURE - SINK, KITCHEN | STAINLESS STEEL | SELECT RMS BLDG-WIDE | D2010 | 14 | EA | 13358.2965 | Deferred
PLUMBING FIXTURE - SINK, KITCHEN | STAINLESS STEEL | SELECT 1ST FL RMS | D2010 | 17 | EA | 16220.7886 | Deferred
PLUMBING FIXTURE - SINK, SERVICE/LAUNDRY/UTILITY | TERRAZO, FLOOR-MOUNTED | EVS RMS | D2010 | 7 | EA | 15012.1456 | Deferred
WATER SOFTENER (41 - 70 GPM) | SOFT-1, MARLO | 1ST FL SW EQUIP RM | D2020 | 24 | GPM | 6489.3968 | Deferred
VACUUM PUMP - ROTARY VANE (6.1-30 HP) | VACP-1, DUPLEX, PURITAN BENNETT | COMPRESSOR RM | D2090 | 10 | HP | 35181.637 | Deferred
VACUUM PUMP - ROTARY VANE (6.1-30 HP) | VACP-2, DUPLEX, AMICO | MED VAC RM | D2090 | 20 | HP | 70363.274 | Deferred
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CONDENSER #2 | NORTH LOWER ROOF | D3030 | 3 | TON | 8427.1082 | Deferred
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CNDR-10, PAYNE, R-410A | NORTH LOWER ROOF | D3030 | 5 | TON | 14045.1803 | Deferred
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CNDR-4, LENNOX, R22 | EAST ELEVATION | D3030 | 2 | TON | 5618.0721 | Deferred
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CNDR-5 | EAST ELEVATION | D3030 | 3 | TON | 8427.1082 | Deferred
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CNDR-6 | EAST ELEVATION | D3030 | 3 | TON | 8427.1082 | Deferred
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CNDR-8 | EAST LOWER ROOF | D3030 | 3 | TON | 8427.1082 | Deferred
AC COIL AND FAN UNIT, NO HEAT (1.6-2 TON) | AC-4 | UNKNOWN | D3030 | 2 | TON | 5979.8605 | Deferred
AC COIL AND FAN UNIT, NO HEAT (2.1-3 TON) | AC-8 | UNKNOWN | D3030 | 3 | TON | 7223.8721 | Deferred
DUCTLESS DX SPLIT SYSTEM (1.1-2 TON) | DDXS-3, MITSUBISHI, R-410A | EAST LOWER ROOF | D3030 | 1.5 | TON | 4609.4318 | Deferred
DUCTLESS DX SPLIT SYSTEM (1.1-2 TON) | DDXS-4, MITSUBISHI, R-410A | EAST LOWER ROOF | D3030 | 2 | TON | 6145.909 | Deferred
DUCTLESS DX SPLIT SYSTEM (1.1-2 TON) | DDXS-5, MITSUBISHI, R-410A | EAST LOWER ROOF | D3030 | 2 | TON | 6145.909 | Deferred
DUCTLESS DX SPLIT SYSTEM (>2 TON) | DDXS-1, MITSUBISHI, R-410A | EAST ELEVATION | D3030 | 3 | TON | 5625.4321 | Deferred
DUCTLESS DX SPLIT SYSTEM (>2 TON) | DDXS-2, MITSUBISHI, R-410A | EAST LOWER ROOF | D3030 | 2.5 | TON | 4687.8601 | Deferred
DUCTLESS DX SPLIT SYSTEM (>2 TON) | DDXS-6, MITSUBISHI | UPPER ROOF | D3030 | 3 | TON | 5625.4321 | Deferred
FAN - PROPELLER WITH LOUVER (<=0.5 HP) | SF-1 | COMPRESSOR RM | D3040 | 0.25 | HP | 2453.0876 | Deferred
FAN - PROPELLER WITH LOUVER (<=0.5 HP) | SF-2 | 1ST FL SW EQUIP RM | D3040 | 0.25 | HP | 2453.0876 | Deferred
FAN - PROPELLER WITH LOUVER (<=0.5 HP) | SF-3 | 1ST FL SW EQUIP RM | D3040 | 0.25 | HP | 2453.0876 | Deferred
VARIABLE FREQUENCY DRIVE (>150 HP) | CHILLER #1 VFD, TRANE | CHILLER RM | D5010 | 200 | HP | 63976.6615 | Deferred
RES EXTERIOR BLDG MT DECO OR FLOOD LIGHTING | T8 FL | AWNINGS | D5020 | 16 | EA | 4150.371 | Deferred
RES EXTERIOR BLDG MT DECO OR FLOOD LIGHTING | HELIPAD LIGHTING, INCANDESCENT RETROFIT | NE, HELIPAD | D5020 | 12 | EA | 3112.7782 | Deferred
RES EXTERIOR BLDG MT DECO OR FLOOD LIGHTING | INCANDESCENT FLOOD, LED RETROFIT | EXTERIOR FACADES | D5020 | 2 | EA | 518.7964 | Deferred
COM EXTERIOR BLDG MT HI FLOOD LIGHTING (WALLPACK, WALLWASH) | HID WALL PACK | EXTERIOR FACADES | D5020 | 2 | EA | 2055.7052 | Deferred
LIGHTING SYSTEM, INTERIOR - HOSPITAL | T8 FLUORESCENT | ALL AREAS | D5020 | 25000 | SF | 277365.9994 | Deferred
CONCRETE VEHICULAR PAVING - STRIPE | CONCRETE HELIPAD | NE CORNER | G2020 | 380 | SY | 1159.6265 | Deferred
HVAC CONTROLS - MAJOR INSTRUMENTATION - HOSPITAL | DDC | ALL AREAS | D3060 | 95000 | SF | 105928.4037 | 2026
HVAC CONTROLS - FIELD PANELS/OPS SOFTWARE - HOSPITAL | DDC | ALL AREAS | D3060 | 95000 | SF | 214266.7375 | 2026
EXTERIOR DOOR OR WINDOW APPLIED FINISH | PAINTED METAL | ROOFS & 1ST FL | B2010 | 44 | EA | 24683.5291 | 2027
DOOR AND FRAME, INTERIOR, NON-RATED | WOOD | SECONDARY DOORS BLDG-WIDE | C1020 | 168 | LEAF | 490607.7905 | 2027
DOOR AND FRAME, INTERIOR, FIRE-RATED | PAINTED METAL | STAIRS | C1020 | 9 | LEAF | 45393.6377 | 2027
DOOR AND FRAME, INTERIOR, FIRE-RATED | WOOD | CORRIDOR DOORS BLDG-WIDE | C1020 | 209 | LEAF | 1054141.1411 | 2027
WALL FINISH - TILE, CERAMIC / STONE, STANDARD | CERAMIC TILE, ORIGINAL | KITCHEN & SELECT RESTROOMS | C3010 | 3800 | SF | 196734.7142 | 2027
WATER HEATER - COMMERCIAL, GAS (>613 MBH INPUT) | WATER HEATER #1, A.O. SMITH, 600 GAL | 1ST FL SW EQUIP RM | D2020 | 720 | MBH | 41896.4499 | 2027
WATER HEATER - COMMERCIAL, GAS (>613 MBH INPUT) | WATER HEATER #2, A.O. SMITH, 600 GAL | 1ST FL SW EQUIP RM | D2020 | 720 | MBH | 41896.4499 | 2027
EXPANSION TANK, DIAPHRAGM (100-249 GAL) | DWXT, WESSELS | 1ST FL SW EQUIP RM | D2020 | 180 | GAL | 20043.3005 | 2027
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CONDENSER #3 | NORTH LOWER ROOF | D3030 | 2.5 | TON | 7233.2679 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (10"-18" DIAMETER) | EF-1 X-RAY-1, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 4882.5241 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | K-1, DAYTON | NORTH LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-1, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | ISOLATION ROOM, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | DAYTON | SOUTH LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 3-11, DAYTON | UPPER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | EF-3-3, DAYTON | UPPER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | ISOLATION ROOM, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-5, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | BIOHAZARD, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 3-6 | UPPER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 3-10, DAYTON | UPPER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-10, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-11, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-13, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-6, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 8641.9988 | 2027
FAN - CENTRIFUGAL ROOF EXHAUST (25"-30" DIAMETER) | K-2 | NORTH LOWER ROOF | D3040 | 1 | EA | 10726.5168 | 2027
EXPANSION TANK, DIAPHRAGM (100-249 GAL) | HWXT, BELL & GOSSETT | BOILER RM | D3040 | 132 | GAL | 14698.4203 | 2027
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | NORTH SIDE, LOTS & DRIVES | G2020 | 8818 | SY | 27716.7223 | 2027
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | EAST SIDE, LOTS & DRIVES | G2020 | 4265 | SY | 13405.7406 | 2027
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | SOUTH SIDE, SERVICE DRIVE | G2020 | 733 | SY | 2303.9643 | 2027
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | SW CORNER, SERVICE LOTS & DRIVES | G2020 | 2925 | SY | 9193.8549 | 2027
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | NE CORNER, DRIVE | G2020 | 1239 | SY | 3894.4227 | 2027
WALL FINISH - APPLIED, STANDARD | PAINTED, 2016 | BLDG-WIDE | C3010 | 75240 | SF | 233995.7837 | 2028
EXPANSION TANK, DIAPHRAGM (100-249 GAL) | CHWXT, AMTROL | CHILLER RM | D3040 | 132 | GAL | 15139.3729 | 2028
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (10-35 TON) | RTU-3, RHEEM, R-410A, NO HEAT | EAST LOWER ROOF | D3050 | 10 | TON | 65464.692 | 2028
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (10-35 TON) | RTU-4, RHEEM, R-410A, NO HEAT | EAST LOWER ROOF | D3050 | 12.5 | TON | 81830.865 | 2028
DOOR AND FRAME, EXTERIOR, SWINGING, ALUMINUM AND GLASS | FULL-LITE ALUMINUM | ANNEX BLDG | B2030 | 2 | LEAF | 8258.934 | 2029
FLOORING - LAMINATE PLANK, STANDARD | LAMINATE PLANK | PUBLIC CORRIDORS & ANNEX BLDG | C3020 | 17100 | SF | 245975.3752 | 2029
FLOORING - MED/LAB, CONDUCTIVE RUBBER, ROLL | MEDICAL SHEET RUBBER | EMERGENCY RMS | C3020 | 3710 | SF | 105237.2955 | 2029
PLUMBING FIXTURE - LAVATORY, COUNTER | PORCELAIN, INTEGRAL OR DROP-IN | ANNEX BLDG RESTROOMS | D2010 | 2 | EA | 2285.9427 | 2029
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CONDENSER #1 | NORTH LOWER ROOF | D3030 | 3 | TON | 9208.5287 | 2029
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CNDR-7, LENNOX, R-410A | EAST ELEVATION | D3030 | 3 | TON | 9208.5287 | 2029
DOOR AND FRAME, EXTERIOR, SWINGING, HOLLOW METAL | PAINTED METAL | UPPER ROOF | B2030 | 5 | LEAF | 14969.3265 | 2030
DOOR AND FRAME, EXTERIOR, SWINGING, HOLLOW METAL | PAINTED METAL | LOWER ROOFS | B2030 | 4 | LEAF | 11975.4612 | 2030
CASEWORK - WOOD BASE AND WALL, TOP, STANDARD | PLAM OR WOOD VENEER | SELECT RMS BLDG-WIDE | C1030 | 125 | LF | 99372.464 | 2030
WALL FINISH - PANEL, MEDICAL / LABORATORY APPLICATION | FIBER REINFORCED POLYPROPYLENE (FRP) | CORRIDORS & SELECT PATIENT RMS BLDG-WIDE | C3010 | 25290 | SF | 410808.8221 | 2030
WATER TANK (1,650-4,000 GAL) | WATER PRESSURE TANK, BUFFALO | NW SITE | D2020 | 2000 | GAL | 119819.6299 | 2030
WATER TANK (1,650-4,000 GAL) | WATER STORAGE TANK | NW SITE | D2020 | 6000 | GAL | 359458.8897 | 2030
BOILER - ELECTRIC (311-2,100 MBH) | SG-1, STERIS | BOILER RM | D3020 | 400 | MBH | 23716.0331 | 2030
BOILER - ELECTRIC (311-2,100 MBH) | SG-2, STERIS | BOILER RM | D3020 | 400 | MBH | 23716.0331 | 2030
CHILLER - WATER-COOLED CENTRIFUGAL OR SCREW (151-350 TONS) | CHILLER #1, YORK, R-123 | CHILLER RM | D3030 | 250 | TON | 551924.5933 | 2030
AIR HANDLING UNIT - OUTDOOR PACKAGE (6-8 HP) | AHU-14, TEMTROL | OUTSIDE, NORTH | D3040 | 7.5 | HP | 178527.4943 | 2030
AIR HANDLING UNIT - OUTDOOR PACKAGE (6-8 HP) | AHU-15, TEMTROL | EAST LOWER ROOF | D3040 | 7.5 | HP | 178527.4943 | 2030
FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY (<=30 HP) | EF-25 | CHILLER RM | D3040 | 0.25 | HP | 516.7681 | 2030
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | RTU-1, CARRIER, R-410A, ELECTRIC HEAT | EAST LOWER ROOF | D3050 | 5 | TON | 31675.6145 | 2030
FLOORING - CARPET, TILE OR ROLL, PREMIUM (WOOL, CUSTOM) | CPT | ENTRY LOBBY | C3020 | 950 | SF | 52477.4979 | 2031
AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (>525 MBH INPUT) | MAU-1, CAPTIVEAIRE | NORTH LOWER ROOF | D3040 | 1000 | MBH | 68304.6964 | 2031
RES EXTERIOR BLDG MT DECO OR FLOOD LIGHTING | SOFFIT CFL | ENTRANCES | D5020 | 11 | EA | 3307.8495 | 2031
REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | COOLER MECH, HEATCRAFT | NORTH ELEVATION | E1020 | 1 | EA | 14735.0356 | 2031
PUMP - ELECTRIC (<=10 HP) | PUMP 1 | NW ELEVATION | D2020 | 10 | HP | 25730.4139 | 2032
PUMP - ELECTRIC (<=10 HP) | PUMP 2 | NW ELEVATION | D2020 | 10 | HP | 25730.4139 | 2032
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-1, LIEBERT, R-410A | NORTH LOWER ROOF | D3030 | 10 | TON | 33541.3597 | 2032
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-2, LIEBERT, R-410A | NORTH LOWER ROOF | D3030 | 10 | TON | 33541.3597 | 2032
AC COIL AND FAN UNIT, NO HEAT (2.1-3 TON) | AC-2 | UNKNOWN | D3030 | 3 | TON | 8625.6811 | 2032
AC COIL AND FAN UNIT, NO HEAT (2.1-3 TON) | AC-5 | UNKNOWN | D3030 | 3 | TON | 8625.6811 | 2032
AC COIL AND FAN UNIT, NO HEAT (2.1-3 TON) | AC-6 | UNKNOWN | D3030 | 3 | TON | 8625.6811 | 2032
PUMP - ELECTRIC (<=10 HP) | HWP-1, BELL & GOSSETT | BOILER RM | D3040 | 7.5 | HP | 19298.0153 | 2032
PUMP - ELECTRIC (<=10 HP) | HWP-2, BELL & GOSSETT | BOILER RM | D3040 | 7.5 | HP | 19298.0153 | 2032
VARIABLE FREQUENCY DRIVE (6-7.5 HP) | AHU-12 VFD, ABB | 2ND FL NW MECH RM | D5010 | 7.5 | HP | 7451.3228 | 2032
VARIABLE FREQUENCY DRIVE (6-7.5 HP) | AHU-12A VFD, ABB | 2ND FL WEST MECH RM | D5010 | 7.5 | HP | 7451.3228 | 2032
VARIABLE FREQUENCY DRIVE (7.6-10 HP) | CT-1 VFD, ABB | SWITCHGEAR RM | D5010 | 10 | HP | 8285.7833 | 2032
VARIABLE FREQUENCY DRIVE (7.6-10 HP) | CT-2 VFD, ABB | SWITCHGEAR RM | D5010 | 10 | HP | 8285.7833 | 2032
DOOR LOCK, COMMERCIAL-GRADE, EXTERIOR | LEVER | ROOFS | B2030 | 8 | EA | 12298.7432 | 2033
DOOR LOCK, COMMERCIAL-GRADE, EXTERIOR | LEVER | SELECT DOORS | B2030 | 3 | EA | 4612.0287 | 2033
DOOR PANIC HARDWARE, EXTERIOR | PANIC BAR | UPPER ROOF | B2030 | 1 | EA | 1962.6629 | 2033
DOOR PANIC HARDWARE, EXTERIOR | PANIC BAR | BLDG-WIDE | B2030 | 33 | EA | 64767.8758 | 2033
DOOR PANIC HARDWARE, INTERIOR | PANIC BAR | DINING RM | C1020 | 2 | EA | 4042.7262 | 2034
DOOR PANIC HARDWARE, INTERIOR | PANIC BAR | STAIRS | C1020 | 9 | EA | 18192.2681 | 2034
DOOR PANIC HARDWARE, INTERIOR | PANIC BAR | SELECT CORRIDOR DOORS | C1020 | 8 | EA | 16170.9049 | 2034
CASEWORK - WOOD BASE AND WALL, TOP, STANDARD | PLAM OR WOOD VENEER | 1ST FL RMS | C1030 | 200 | LF | 178951.3339 | 2034
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | EF1C.1, GREENHECK | EAST LOWER ROOF | D3040 | 1 | EA | 10628.5685 | 2034
VARIABLE FREQUENCY DRIVE (>150 HP) | CHILLER #2 VFD, YORK | CHILLER RM | D5010 | 200 | HP | 81043.7207 | 2034
REFRIGERATION SYSTEM - WALK-IN, 3 EVAP FANS, 10000 BTUH, CONDENSER | FREEZER MECH, RUSSELL | NORTH ELEVATION | E1020 | 1 | EA | 22756.1431 | 2034
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | NORTH SIDE, LOTS & DRIVES | G2020 | 8818 | SY | 34088.0724 | 2034
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | EAST SIDE, LOTS & DRIVES | G2020 | 4265 | SY | 16487.37 | 2034
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | SOUTH SIDE, SERVICE DRIVE | G2020 | 733 | SY | 2833.5855 | 2034
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | SW CORNER, SERVICE LOTS & DRIVES | G2020 | 2925 | SY | 11307.2819 | 2034
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | NE CORNER, DRIVE | G2020 | 1239 | SY | 4789.6486 | 2034
CASEWORK - LABORATORY, INCLUDES REAGENT SHELF AND TOP | PLAM | 3RD FL PHARMACY | C1030 | 450 | SF | 34615.1822 | 2035
CASEWORK - LABORATORY, INCLUDES REAGENT SHELF AND TOP | PLAM | 1ST FL LAB | C1030 | 2375 | SF | 182691.2394 | 2035
WALL BUMP RAIL – VINYL & ALUM, 6” | PLASTIC | 1ST FL | C3010 | 2000 | LF | 81059.6503 | 2035
WALL BUMP RAIL – VINYL & ALUM, 6” | PLASTIC | 2ND FL | C3010 | 825 | LF | 33437.1057 | 2035
WALL BUMP RAIL – VINYL & ALUM, 6” | PLASTIC | 3RD FL | C3010 | 825 | LF | 33437.1057 | 2035
FLOORING - FLUID APPLIED, PAINT OR CLEAR SEAL | PAINTED CONCRETE | STAIRS | C3020 | 1920 | SF | 10083.9145 | 2035
PLUMBING FIXTURE - LAVATORY, WALL HUNG | PORCELAIN | SELECT RESTROOMS & RMS BLDG-WIDE | D2010 | 13 | EA | 29553.0603 | 2035
PLUMBING FIXTURE - SHOWER VALVE AND HEAD | FIBERGLASS OR TILE | SELECT RESTROOMS BLDG-WIDE | D2010 | 41 | EA | 73388.9348 | 2035
PLUMBING FIXTURE - WATER CLOSET, TANKLESS | PORCELAIN, WALL- OR FLOOR-MOUNTED | SELECT RESTROOMS BLDG-WIDE | D2010 | 46 | EA | 137591.2572 | 2035
PTAC, DX/ HP COOL, ELEC HEAT (>2 TON) | BMC INC, R-410A | ELEVATOR RM MECH PH | D3030 | 5 | TON | 17832.7419 | 2035
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | RTU-2, RHEEM, R-410A, ELEC HEAT | EAST LOWER ROOF | D3050 | 5 | TON | 36720.7187 | 2035
EXTERIOR WALL FINISH - APPLIED, STANDARD | PAINTED CONCRETE STUCCO | BLDG-WIDE | B2010 | 57100 | SF | 233297.6494 | 2036
DOOR LOCK, SECURITY, EXTERIOR | CARD ACCESS | SECURE ENTRIES | B2030 | 5 | EA | 12672.0721 | 2036
DOOR OPERATOR, POWER-ASSIST | OVERHEAD ELECTRIC | AMBULANCE | B2030 | 2 | EA | 24148.8503 | 2036
DOOR OPERATOR, POWER-ASSIST | OVERHEAD ELECTRIC | WEST LOADING | B2030 | 2 | EA | 24148.8503 | 2036
ROOF GUTTER AND LEADER - ALUMINUM OR GALVANIZED, COATED | METAL | SELECT AREAS & ROOFS | B3010 | 1000 | LF | 29913.2885 | 2036
FLOORING - VINYL COMPOSITION TILE, STANDARD | VINYL PLANK | SELECT RMS | C3020 | 3340 | SF | 37678.5399 | 2036
FLOORING - FLUID APPLIED, PAINT OR CLEAR SEAL | SEALED CONCRETE | MECH RMS | C3020 | 3990 | SF | 21584.3039 | 2036
PLUMBING FIXTURE - SINK, KITCHEN | STAINLESS STEEL | SELECT RMS BLDG-WIDE | D2010 | 12 | EA | 15387.8001 | 2036
AIR DRYER, REFRIGERATED (0-10 CFM) | UAC-1 RAD, HANKISON, R-134A | 1ST FL SW MECH RM | D2090 | 1 | EA | 2697.7063 | 2036
AIR COMPRESSOR - MEDICAL/LABORATORY PCKG (<=15 HP), WITH DRYER | MAC-1, DUPLEX, INGERSOLL RAND | COMPRESSOR RM | D2090 | 15 | HP | 62978.0852 | 2036
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CNDR-9, CARRIER, R-410A | NORTH LOWER ROOF | D3030 | 5 | TON | 18875.5479 | 2036
HUMIDIFIER, ELECTRIC, POINT-OF-USE | HUMIDIFIER #1, NORTEC | 1ST FL SW MECH RM | D3040 | 1 | EA | 11950.4835 | 2036
HVAC CONTROLS - TERMINAL ASSEMBLIES - HOSPITAL | DDC | ALL AREAS | D3060 | 95000 | SF | 997664.0829 | 2036
AIR DOOR - PEDESTRIAN ENTRY/EXIT | CRTN-2, MARS, SINGLE MOTOR | 1ST FL SOUTH EXIT | D3090 | 4 | LF | 21144.9108 | 2036
VARIABLE FREQUENCY DRIVE (<=5 HP) | AHU-21 VFD, JOHNSON CONTROLS | BOILER RM | D5010 | 1.5 | HP | 1849.6966 | 2036
VARIABLE FREQUENCY DRIVE (41-50 HP) | AHU-20 VFD, SCHNIEDER ELECTRIC | 1ST FL SW MECH RM | D5010 | 45 | HP | 21183.7535 | 2036
COM EXTERIOR BLDG MT HI FLOOD LIGHTING (WALLPACK, WALLWASH) | SURFACE LED | NORTH ENTRANCE | D5020 | 2 | EA | 2762.6959 | 2036
COM EXTERIOR BOLLARD LIGHTING | BOLLARD LED | NORTH ELEVATION | D5020 | 16 | EA | 38289.3406 | 2036
SURGICAL/PROCEDURAL LIGHTING MODULE | SURGICAL LIGHT | SURGICAL SUITES | D5040 | 4 | EA | 120862.3993 | 2036
UNINTERRUPTIBLE POWER SUPPLY (6-40 KVA) | UPS-IDF-2A, APC | 2ND FL MAIN IT RM | D5090 | 20 | KVA | 71109.1177 | 2036
COMMERCIAL KITCHEN EQUIPMENT ESTIMATE BY SQUARE FOOT | COMM KITCHEN EQUIP | KITCHEN & SERVERY | E1040 | 100 | SF | 153295.4358 | 2036
PLUMBING FIXTURE - EMERGENCY EYEWASH | WAND | SELECT LOCATIONS | D2010 | 15 | EA | 26761.9213 | 2037
BOILER - GAS (801-1,500 MBH) | B-1, BRYANT | BOILER RM | D3020 | 1500 | MBH | 144477.914 | 2037
BOILER - GAS (801-1,500 MBH) | B-2, BRYANT | BOILER RM | D3020 | 1500 | MBH | 144477.914 | 2037
BOILER - GAS (801-1,500 MBH) | B-3, BRYANT | BOILER RM | D3020 | 1500 | MBH | 144477.914 | 2037
AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU | SELECT RMS | D3040 | 62.5 | HP | 1020758.8786 | 2037
FAN - CENTRIFUGAL ROOF EXHAUST (10"-18" DIAMETER) | EF-2, LOREN COOK | UPPER ROOF | D3040 | 1 | EA | 6561.7042 | 2037
PUMP - ELECTRIC (11-15 HP) | CHW-1 | CHILLER RM | D3040 | 15 | HP | 38958.1248 | 2037
PUMP - ELECTRIC (11-15 HP) | CHW-2 | CHILLER RM | D3040 | 15 | HP | 38958.1248 | 2037
PUMP - ELECTRIC (21-25 HP) | CW-1 | CHILLER RM | D3040 | 25 | HP | 39011.8075 | 2037
PUMP - ELECTRIC (21-25 HP) | CW-2 | CHILLER RM | D3040 | 25 | HP | 39011.8075 | 2037
FUEL TANK, ABOVE GROUND (3,000-6,999 GAL) | DFOST | WEST SITE | D5090 | 4000 | GAL | 93681.8907 | 2037
DECK, ELEVATED WOOD | WOOD PATIO | DINING PATIO | B1010 | 300 | SF | 17575.7496 | 2038
EXTERIOR DOOR OR WINDOW APPLIED FINISH | PAINTED METAL | ROOFS & 1ST FL | B2010 | 44 | EA | 34167.777 | 2038
ROOF - 1-PLY, UNBALLASTED | WHITE MEMBRANE | MAIN ROOFS | B3010 | 55456 | SF | 1308382.4863 | 2038
WALL FINISH - APPLIED, STANDARD | PAINTED, 2026 | UPGRADED AREAS | C3010 | 42990 | SF | 179679.6684 | 2038
DUCTLESS DX SPLIT SYSTEM (<=1 TON) | DDXS-A, GREE, R32 | UPPER ROOF, STAIRWELL A | D3030 | 1 | TON | 5170.2129 | 2038
DUCTLESS DX SPLIT SYSTEM (<=1 TON) | DDXS-B, GREE, R32 | UPPER ROOF, STAIRWELL B | D3030 | 1 | TON | 5170.2129 | 2038
DUCTLESS DX SPLIT SYSTEM (<=1 TON) | DDXS-C, GREE, R32 | UPPER ROOF, STAIRWELL C | D3030 | 1 | TON | 5170.2129 | 2038
DUCTLESS DX SPLIT SYSTEM (<=1 TON) | DDXS-D, GREE, R32 | UPPER ROOF, STAIRWELL D | D3030 | 1 | TON | 5170.2129 | 2038
AIR HANDLING UNIT - OUTDOOR PACKAGE (6-8 HP) | RTU-3A, YORK | UPPER ROOF | D3040 | 7.5 | HP | 226153.2884 | 2038
AIR HANDLING UNIT - OUTDOOR PACKAGE (6-8 HP) | RTU-22, YORK | UPPER ROOF | D3040 | 7.5 | HP | 226153.2884 | 2038
FENCE, CHAIN LINK, 6 FT, GATES AT 100 FT | METAL | HELIPAD AREA | G2040 | 650 | LF | 61386.2023 | 2038
DOOR AND FRAME, EXTERIOR, SWINGING, SCREEN, LOCK | STORM ACCORDION | AMBULANCE | B2030 | 2 | LEAF | 2780.3491 | 2039
DOOR LOCK, COMMERCIAL-GRADE, INTERIOR | LEVER | SECONDARY DOORS BLDG-WIDE | C1020 | 168 | EA | 240625.6218 | 2039
DOOR LOCK, COMMERCIAL-GRADE, INTERIOR | LEVER | CORRIDOR DOORS BLDG-WIDE | C1020 | 288 | EA | 412501.0659 | 2039
PLUMBING FIXTURE - LAVATORY, WALL HUNG | PORCELAIN | SELECT 1ST FL RMS & RESTROOMS | D2010 | 18 | EA | 46055.395 | 2039
PLUMBING FIXTURE - SHOWER VALVE AND HEAD | FIBERGLASS OR TILE | SELECT RESTROOMS BLDG-WIDE | D2010 | 51 | EA | 102746.208 | 2039
PLUMBING FIXTURE - URINAL | PORCELAIN, WALL-HUNG | ANNEX BLDG, MEN'S RESTROOM | D2010 | 1 | EA | 1828.0471 | 2039
PLUMBING FIXTURE - WATER CLOSET, TANK-TYPE | PORCELAIN, TANK | BUSINESS BLDG RESTROOMS | D2010 | 2 | EA | 2318.8468 | 2039
PLUMBING FIXTURE - WATER CLOSET, TANKLESS | PORCELAIN, WALL- OR FLOOR-MOUNTED | SELECT 1ST FL RRS | D2010 | 12 | EA | 40398.3058 | 2039
COOLING TOWER (301-550 TONS) | CT-1, REPLACEMENT FUNDED | UPPER ROOF | D3030 | 330 | TON | 225803.897 | 2039
COOLING TOWER (301-550 TONS) | CT-2, REPLACEMENT FUNDED | UPPER ROOF | D3030 | 330 | TON | 225803.897 | 2039
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (10-35 TON) | RTU-5, REPLACEMENT FUNDED | EAST LOWER ROOF | D3050 | 20 | TON | 181236.888 | 2039
WALL FINISH - APPLIED, STANDARD | PAINTED, 2016 | BLDG-WIDE | C3010 | 75240 | SF | 333622.0361 | 2040
CEILING FINISH - APPLIED PAINT OR STAIN, STANDARD | PAINTED | STAIRS, RESTROOMS, ORs | C3030 | 11400 | SF | 50548.7934 | 2040
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CONDENSER #3 | NORTH LOWER ROOF | D3030 | 2.5 | TON | 10622.2977 | 2040
AIR DOOR - PEDESTRIAN ENTRY/EXIT | CRTN-1, MARS, DUAL MOTOR | MAIN LOBBY | D3090 | 7 | LF | 41647.871 | 2040
AIR DOOR - PEDESTRIAN ENTRY/EXIT | CRTN-3, MARS, DUAL MOTOR | SW ENTRY VESTIBULE | D3090 | 7 | LF | 41647.871 | 2040
VARIABLE FREQUENCY DRIVE (<=5 HP) | AHU-6 VFD, ABB | 1ST FL SE MECH RM | D5010 | 5 | HP | 6939.4995 | 2040
VARIABLE FREQUENCY DRIVE (<=5 HP) | AHU-7 VFD, ABB | 1ST FL S MECH RM | D5010 | 5 | HP | 6939.4995 | 2040
DOOR LOCK, SECURITY, INTERIOR | CARD ACCESS | SELECT SECURE DOORS | C1020 | 3 | EA | 8813.3873 | 2041
DOOR LOCK, SECURITY, INTERIOR | CARD ACCESS | SECURE DOORS BLDG-WIDE | C1020 | 25 | EA | 73444.894 | 2041
DOOR ACCESS CONTROL SYSTEM | CARD ACCESS PANEL | COMM RMS | C1020 | 7 | EA | 338283.5922 | 2041
DOOR, SLIDING SYSTEM, INTERIOR | FULL-LITE SLIDER, MANUAL | 3RD FL POD C | C1020 | 8 | EA | 67573.2784 | 2041
FLOORING - MED/LAB, CONDUCTIVE RUBBER, ROLL | MEDICAL SHEET RUBBER | OR, 2ND FL POD A, 3RD FL POD C, & SELECT RMS | C3020 | 20250 | SF | 818969.0569 | 2041
DRINKING FOUNTAIN, DUAL-LEVEL | DUAL-LEVEL | 2ND FL CENTRAL CORRIDOR | D2010 | 1 | EA | 10212.0461 | 2041
PLUMBING FIXTURE - LAVATORY, COUNTER | PORCELAIN, INTEGRAL OR DROP-IN | 2ND & 3RD FL RMS & RESTROOMS | D2010 | 63 | EA | 102665.0401 | 2041
GREYWATER LIFT STATION | SUMP-1, DUPLEX, HYDRO INC | SW SITE | D2030 | 30 | HP | 155400.145 | 2041
SURGICAL SUPPLY STERILIZER ASSEMBLY | STRLZR-1 | STERILIZER RM | D2050 | 1 | EA | 195732.4122 | 2041
SURGICAL SUPPLY STERILIZER ASSEMBLY | STRLZR-2 | STERILIZER RM | D2050 | 1 | EA | 195732.4122 | 2041
AC COIL AND FAN UNIT, NO HEAT (>3 TON) | AC-10 | UNKNOWN | D3030 | 5 | TON | 14898.0282 | 2041
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (10-35 TON) | RTU-3, RHEEM, R-410A, NO HEAT | EAST LOWER ROOF | D3050 | 10 | TON | 96137.1072 | 2041
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (10-35 TON) | RTU-4, RHEEM, R-410A, NO HEAT | EAST LOWER ROOF | D3050 | 12.5 | TON | 120171.384 | 2041
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | NORTH SIDE, LOTS & DRIVES | G2020 | 8818 | SY | 41924.0294 | 2041
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | EAST SIDE, LOTS & DRIVES | G2020 | 4265 | SY | 20277.3855 | 2041
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | SOUTH SIDE, SERVICE DRIVE | G2020 | 733 | SY | 3484.9528 | 2041
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | SW CORNER, SERVICE LOTS & DRIVES | G2020 | 2925 | SY | 13906.5305 | 2041
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | NE CORNER, DRIVE | G2020 | 1239 | SY | 5890.6637 | 2041
DOOR AND FRAME, INTERIOR, NON-RATED | WOOD | ANNEX BLDG SECONDARY RMS | C1020 | 18 | LEAF | 81894.7449 | 2042
DOOR AND FRAME, INTERIOR, FIRE-RATED | WOOD | ANNEX & BUSINESS BLDG CORRIDOR DOORS | C1020 | 45 | LEAF | 353609.0419 | 2042
ELEVATOR MODERNIZATION - HYDRAULIC 2-5 FLOORS | ELEV-1, PASSENGER, THYSSEN KRUPP | ELEVATOR MECH PH | D1010 | 1 | EA | 485601.3979 | 2042
ELEVATOR MODERNIZATION - HYDRAULIC 2-5 FLOORS | ELEV-2, PASSENGER, THYSSEN KRUPP | ELEVATOR MECH PH | D1010 | 1 | EA | 485601.3979 | 2042
MEDICAL GAS CONTROL PANEL | GAS PANEL, ANALOG | ALL AREAS | D2090 | 10 | EA | 27246.6714 | 2042
CHILLER - WATER-COOLED CENTRIFUGAL OR SCREW (151-350 TONS) | CHILLER #2, TRANE, R-134A | CHILLER RM | D3030 | 250 | TON | 786912.4977 | 2042
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CONDENSER #1 | NORTH LOWER ROOF | D3030 | 3 | TON | 13523.0348 | 2042
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CNDR-7, LENNOX, R-410A | EAST ELEVATION | D3030 | 3 | TON | 13523.0348 | 2042
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | K-3, LOREN COOK | NORTH LOWER ROOF | D3040 | 1 | EA | 13463.9525 | 2042
MAIN SWITCHBOARD W/BREAKERS (801-1,200 AMP) | NDP/A, SQUARE D, 120V | SWITCHGEAR RM | D5010 | 1200 | AMP | 185992.5892 | 2042
MAIN SWITCHBOARD W/BREAKERS (1,601-2,500 AMP) | MSB/A, SQUARE D, 480V | SWITCHGEAR RM | D5010 | 2500 | AMP | 436332.7126 | 2042
MAIN SWITCHBOARD W/BREAKERS (1,601-2,500 AMP) | DGP/A, SQUARE D, 480V | EMERGENCY ELECTRICAL RM | D5010 | 2000 | AMP | 349066.1701 | 2042
TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (226-300 KVA) | TX-NDP A, SQUARE D | SWITCHGEAR RM | D5010 | 300 | KVA | 62760.775 | 2042
AIR HANDLING UNIT - OUTDOOR PACKAGE (6-8 HP) | AHU-14, TEMTROL | OUTSIDE, NORTH | D3040 | 7.5 | HP | 262173.6441 | 2043
AIR HANDLING UNIT - OUTDOOR PACKAGE (6-8 HP) | AHU-15, TEMTROL | EAST LOWER ROOF | D3040 | 7.5 | HP | 262173.6441 | 2043
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | RTU-1, CARRIER, R-410A, ELECTRIC HEAT | EAST LOWER ROOF | D3050 | 5 | TON | 46516.7078 | 2043
GLASS, STOREFRONT | SINGLE-PANE ALUMINUM | ENTRIES | B2010 | 320 | SF | 94917.9996 | 2044
DOOR AND FRAME, EXTERIOR, SWINGING, HOLLOW METAL | PAINTED METAL | 1ST FL | B2030 | 35 | LEAF | 158497.1459 | 2044
FLOORING - TILE, CERAMIC / STONE / QUARRY STANDARD | CERAMIC TILE, 2004 | UPGRADED RESTROOMS | C3020 | 1710 | SF | 121255.7676 | 2044
AC COIL AND FAN UNIT, NO HEAT (2.1-3 TON) | AC-3, CARRIER | 2ND FL MAIN IT RM | D3030 | 2.5 | TON | 10248.4656 | 2044
AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (>525 MBH INPUT) | MAU-1, CAPTIVEAIRE | NORTH LOWER ROOF | D3040 | 1000 | MBH | 100307.7495 | 2044
FIRE ALARM PANEL, DIALER, BATTERY, & CHARGER UP TO 200 POINTS | SIMPLEX 4100ES | FA/COMM RM | D4030 | 1 | EA | 30886.5642 | 2044
FIRE ALARM SYSTEM - DEVICES | HORN STROBE, SMOKE DETECTORS, PULL STATIONS | ALL AREAS | D4030 | 95000 | SF | 551951.6754 | 2044
LIGHTING SYSTEM, INTERIOR - HOSPITAL | LED | ALL AREAS | D5020 | 70000 | SF | 1322151.7328 | 2044
FLOORING - FLUID APPLIED, PAINT OR CLEAR SEAL | PAINTED CONCRETE | STAIRS | C3020 | 1920 | SF | 13551.9379 | 2045
SUPPLY PIPING SYSTEM - HOSPITAL | RIGID COPPER | ALL AREAS | D2020 | 95000 | SF | 3202327.1512 | 2045
WATER HEATER - RESIDENTIAL, GAS (46-55 GAL) | DWH-3, RHEEM, BACKUP FOR SURGICAL SUITES | 1ST FL SW EQUIP RM | D2020 | 50 | GAL | 5150.4655 | 2045
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-1, LIEBERT, R-410A | NORTH LOWER ROOF | D3030 | 10 | TON | 49256.6175 | 2045
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-2, LIEBERT, R-410A | NORTH LOWER ROOF | D3030 | 10 | TON | 49256.6175 | 2045
COM EXTERIOR POLE ARM FIXTURE PREM (LED) NO POLE OR ARM | LED | PARKING LOT | D5020 | 35 | EA | 369806.9108 | 2045
CASEWORK - WOOD BASE AND WALL, TOP, STANDARD | WOOD VENEER | RMS, BLDG-WIDE | C1030 | 355 | LF | 452876.7172 | 2046
FLOORING - CARPET, TILE OR ROLL, PREMIUM (WOOL, CUSTOM) | CPT | ENTRY LOBBY | C3020 | 950 | SF | 81758.2318 | 2046
FLOORING - VINYL COMPOSITION TILE, STANDARD | VINYL TILE, 2026 | UPGRADED PODS 3A, 3B & SELECT RMS | C3020 | 7380 | SF | 111886.1182 | 2046
FLOORING - FLUID APPLIED, PAINT OR CLEAR SEAL | SEALED CONCRETE | MECH RMS | C3020 | 3990 | SF | 29007.4995 | 2046
AIR COMPRESSOR - UTILITY (>5 HP) | UAC-1, DUPLEX, POWEREX | 1ST FL SW MECH RM | D2090 | 6 | HP | 27833.5921 | 2046
AC COIL AND FAN UNIT, NO HEAT (2.1-3 TON) | AC-1 | UNKNOWN | D3030 | 3 | TON | 13047.1165 | 2046
AC COIL AND FAN UNIT, NO HEAT (2.1-3 TON) | AC-7 | UNKNOWN | D3030 | 3 | TON | 13047.1165 | 2046
FAN - CENTRIFUGAL ROOF EXHAUST (10"-18" DIAMETER) | K-5, LOREN COOK | NORTH LOWER ROOF | D3040 | 1 | EA | 8561.5356 | 2046
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | K-4, LOREN COOK | NORTH LOWER ROOF | D3040 | 1 | EA | 15153.7972 | 2046
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | LOREN COOK | EAST LOWER ROOF | D3040 | 1 | EA | 15153.7972 | 2046
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-10, LOREN COOK | EAST LOWER ROOF | D3040 | 1 | EA | 15153.7972 | 2046
HOOD, KITCHEN, COMMERCIAL WITH FIRE SUPPRESSION | HOOD-1 | KITCHEN | D3040 | 20 | LF | 49401.8722 | 2046
HOOD, KITCHEN, COMMERCIAL WITH FIRE SUPPRESSION | HOOD-2 | SERVING LINE | D3040 | 6 | LF | 14820.5617 | 2046
RES EXTERIOR BLDG MT DECO OR FLOOD LIGHTING | SOFFIT CFL | ENTRANCES | D5020 | 11 | EA | 5153.5217 | 2046
REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | COOLER MECH, HEATCRAFT | NORTH ELEVATION | E1020 | 1 | EA | 22956.7053 | 2046
HVAC DISTRIBUTION NETWORKS - HOSPITAL | METAL DUCT, ELECTRIC REHEAT | ALL AREAS | D3040 | 95000 | SF | 13944308.1086 | 2047
VARIABLE FREQUENCY DRIVE (6-7.5 HP) | AHU-12 VFD, ABB | 2ND FL NW MECH RM | D5010 | 7.5 | HP | 11608.9182 | 2047
VARIABLE FREQUENCY DRIVE (6-7.5 HP) | AHU-12A VFD, ABB | 2ND FL WEST MECH RM | D5010 | 7.5 | HP | 11608.9182 | 2047
VARIABLE FREQUENCY DRIVE (7.6-10 HP) | CT-1 VFD, ABB | SWITCHGEAR RM | D5010 | 10 | HP | 12908.9803 | 2047
VARIABLE FREQUENCY DRIVE (7.6-10 HP) | CT-2 VFD, ABB | SWITCHGEAR RM | D5010 | 10 | HP | 12908.9803 | 2047
EXTERIOR WALL FINISH - APPLIED, STANDARD | PAINTED CONCRETE STUCCO | BLDG-WIDE | B2010 | 57100 | SF | 332626.6635 | 2048
CHILLER - WATER-COOLED CENTRIFUGAL OR SCREW (151-350 TONS) | CHILLER #1, YORK, R-123 | CHILLER RM | D3030 | 250 | TON | 939614.675 | 2048
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | RTU-2, RHEEM, R-410A, ELEC HEAT | EAST LOWER ROOF | D3050 | 5 | TON | 53925.6134 | 2048
GENERATOR - DIESEL (>500 KW) | GEN-1, CUMMINS | WEST SITE | D5090 | 1000 | KW | 1514103.4841 | 2048
SWITCH - AUTO TRANSFER, 480 V (101-400 AMP) | ATS LS, CUMMINS | EMERGENCY ELECTRICAL RM | D5090 | 150 | AMP | 15477.6211 | 2048
SWITCH - AUTO TRANSFER, 480 V (101-400 AMP) | ATS CR, CUMMINS | EMERGENCY ELECTRICAL RM | D5090 | 400 | AMP | 41273.6562 | 2048
SWITCH - AUTO TRANSFER, 480 V (101-400 AMP) | MTS, ASCO | SWITCHGEAR RM | D5090 | 400 | AMP | 14445.7797 | 2048
SWITCH - AUTO TRANSFER, 480 V (>400 AMP) | ATS X, CUMMINS | EMERGENCY ELECTRICAL RM | D5090 | 600 | AMP | 43635.4578 | 2048
SWITCH - AUTO TRANSFER, 480 V (>400 AMP) | ATS EQ, CUMMINS | EMERGENCY ELECTRICAL RM | D5090 | 600 | AMP | 43635.4578 | 2048
SWITCH - AUTO TRANSFER, 480 V (>400 AMP) | ATS CH, CUMMINS | EMERGENCY ELECTRICAL RM | D5090 | 600 | AMP | 43635.4578 | 2048
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | NORTH SIDE, LOTS & DRIVES | G2020 | 8818 | SY | 51561.2681 | 2048
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | EAST SIDE, LOTS & DRIVES | G2020 | 4265 | SY | 24938.6265 | 2048
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | SOUTH SIDE, SERVICE DRIVE | G2020 | 733 | SY | 4286.0523 | 2048
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | SW CORNER, SERVICE LOTS & DRIVES | G2020 | 2925 | SY | 17103.2784 | 2048
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | NE CORNER, DRIVE | G2020 | 1239 | SY | 7244.7733 | 2048
EXTERIOR DOOR OR WINDOW APPLIED FINISH | PAINTED METAL | ROOFS & 1ST FL | B2010 | 44 | EA | 47296.1942 | 2049
CEILING FINISH - SUSPENDED ACOUSTICAL TILE, STANDARD | ACT | BLDG-WIDE | C3030 | 83600 | SF | 2180906.1992 | 2049
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CNDR-9, CARRIER, R-410A | NORTH LOWER ROOF | D3030 | 5 | TON | 27719.3785 | 2049
AC COIL AND FAN UNIT, NO HEAT (>3 TON) | ACCU-1 | UNKNOWN | D3030 | 10 | TON | 37744.7527 | 2049
FAN - CENTRIFUGAL ROOF EXHAUST (10"-18" DIAMETER) | EF-2-2, GREENHECK | EAST LOWER ROOF | D3040 | 1 | EA | 9355.4212 | 2049
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | EF-3-4, GREENHECK | UPPER ROOF | D3040 | 1 | EA | 16558.9634 | 2049
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | EF-ICU, GREENHECK | UPPER ROOF | D3040 | 1 | EA | 16558.9634 | 2049
REFRIGERATION SYSTEM - WALK-IN, 3 EVAP FANS, 10000 BTUH, CONDENSER | FREEZER MECH, RUSSELL | NORTH ELEVATION | E1020 | 1 | EA | 35453.3295 | 2049
WALL FINISH - APPLIED, STANDARD | PAINTED, 2026 | UPGRADED AREAS | C3010 | 42990 | SF | 256180.2433 | 2050
WALL FINISH - PANEL, MEDICAL / LABORATORY APPLICATION | FIBER REINFORCED POLYPROPYLENE (FRP) | CORRIDORS & SELECT PATIENT RMS BLDG-WIDE | C3010 | 25290 | SF | 741966.4289 | 2050
FLOORING - MED/LAB, CONDUCTIVE RUBBER, ROLL | MEDICAL SHEET RUBBER | SELECT UPGRADED RMS | C3020 | 740 | SF | 39048.9363 | 2050
PLUMBING FIXTURE - SINK, SERVICE/LAUNDRY/UTILITY | PORCELAIN, SERVICE | SOILED RMS BLDG-WIDE | D2010 | 6 | EA | 26157.0867 | 2050
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | EF-2-12, GREENHECK | EAST LOWER ROOF | D3040 | 1 | EA | 17055.7323 | 2050
PLUMBING FIXTURE - LAVATORY, WALL HUNG | PORCELAIN | SELECT RMS & RESTROOMS BLDG-WIDE | D2010 | 12 | EA | 43775.9872 | 2051
PLUMBING FIXTURE - URINAL | PORCELAIN, WALL-HUNG | SELECT MEN RESTROOMS | D2010 | 3 | EA | 7819.074 | 2051
PLUMBING FIXTURE - WATER CLOSET, TANKLESS | PORCELAIN, WALL- OR FLOOR-MOUNTED | SELECT RESTROOMS BLDG-WIDE | D2010 | 62 | EA | 297591.342 | 2051
WATER HEATER - COMMERCIAL, GAS (311-613 MBH INPUT) | DWH-1, STATE, SURGICAL SUITES, 120 GAL | 1ST FL SW EQUIP RM | D2020 | 400 | MBH | 66940.3336 | 2051
AIR DRYER, REFRIGERATED (0-10 CFM) | UAC-1 RAD, HANKISON, R-134A | 1ST FL SW MECH RM | D2090 | 1 | EA | 4202.9386 | 2051
DUCTLESS DX SPLIT SYSTEM (<=1 TON) | DDXS-A, GREE, R32 | UPPER ROOF, STAIRWELL A | D3030 | 1 | TON | 7592.632 | 2051
DUCTLESS DX SPLIT SYSTEM (<=1 TON) | DDXS-B, GREE, R32 | UPPER ROOF, STAIRWELL B | D3030 | 1 | TON | 7592.632 | 2051
DUCTLESS DX SPLIT SYSTEM (<=1 TON) | DDXS-C, GREE, R32 | UPPER ROOF, STAIRWELL C | D3030 | 1 | TON | 7592.632 | 2051
DUCTLESS DX SPLIT SYSTEM (<=1 TON) | DDXS-D, GREE, R32 | UPPER ROOF, STAIRWELL D | D3030 | 1 | TON | 7592.632 | 2051
AIR HANDLING UNIT - OUTDOOR PACKAGE (6-8 HP) | RTU-3A, YORK | UPPER ROOF | D3040 | 7.5 | HP | 332113.7285 | 2051
AIR HANDLING UNIT - OUTDOOR PACKAGE (6-8 HP) | RTU-22, YORK | UPPER ROOF | D3040 | 7.5 | HP | 332113.7285 | 2051
VARIABLE FREQUENCY DRIVE (<=5 HP) | AHU-21 VFD, JOHNSON CONTROLS | BOILER RM | D5010 | 1.5 | HP | 2881.7671 | 2051
WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | COOLER STRUCTURE, KOLPAK | KITCHEN | E1020 | 80 | SF | 75264.5356 | 2051
WALL FINISH - APPLIED, STANDARD | PAINTED, 2016 | BLDG-WIDE | C3010 | 75240 | SF | 475665.2501 | 2052
PLUMBING FIXTURE - EMERGENCY SHOWER | WALL-MOUNTED | LAB | D2010 | 1 | EA | 2962.6222 | 2052
WATER HEATER - COMMERCIAL, GAS (>613 MBH INPUT) | WATER HEATER #1, A.O. SMITH, 600 GAL | 1ST FL SW EQUIP RM | D2020 | 720 | MBH | 87721.8621 | 2052
WATER HEATER - COMMERCIAL, GAS (>613 MBH INPUT) | WATER HEATER #2, A.O. SMITH, 600 GAL | 1ST FL SW EQUIP RM | D2020 | 720 | MBH | 87721.8621 | 2052
EXPANSION TANK, DIAPHRAGM (100-249 GAL) | DWXT, WESSELS | 1ST FL SW EQUIP RM | D2020 | 180 | GAL | 41966.2201 | 2052
COOLING TOWER (301-550 TONS) | CT-1, REPLACEMENT FUNDED | UPPER ROOF | D3030 | 330 | TON | 331600.6353 | 2052
COOLING TOWER (301-550 TONS) | CT-2, REPLACEMENT FUNDED | UPPER ROOF | D3030 | 330 | TON | 331600.6353 | 2052
AIR HANDLING UNIT - INDOOR (7-9 HP) | AHU-12, CARRIER | 2ND FL NW MECH RM | D3040 | 7.5 | HP | 157711.6186 | 2052
AIR HANDLING UNIT - INDOOR (7-9 HP) | AHU-12A, CARRIER | 2ND FL WEST MECH RM | D3040 | 7.5 | HP | 157711.6186 | 2052
AIR HANDLING UNIT - INDOOR (36-45 HP) | AHU-20, FAN WALL, YORK | 1ST FL SW MECH RM | D3040 | 45 | HP | 730017.7498 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (10"-18" DIAMETER) | EF-1 X-RAY-1, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 10222.9213 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | K-1, DAYTON | NORTH LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-1, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | ISOLATION ROOM, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | DAYTON | SOUTH LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 3-11, DAYTON | UPPER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | EF-3-3, DAYTON | UPPER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | ISOLATION ROOM, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-5, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | BIOHAZARD, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 3-6 | UPPER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 3-10, DAYTON | UPPER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-10, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-11, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-13, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | 2-6, DAYTON | EAST LOWER ROOF | D3040 | 1 | EA | 18094.4263 | 2052
FAN - CENTRIFUGAL ROOF EXHAUST (25"-30" DIAMETER) | K-2 | NORTH LOWER ROOF | D3040 | 1 | EA | 22458.9441 | 2052
FAN - UTILITY SET (.6-1.25 HP) | EF-1, LOREN COOK | UPPER ROOF | D3040 | 0.75 | HP | 11853.0312 | 2052
FAN - UTILITY SET (.6-1.25 HP) | EF-2 | SOUTH LOWER ROOF | D3040 | 0.75 | HP | 11853.0312 | 2052
EXPANSION TANK, DIAPHRAGM (100-249 GAL) | HWXT, BELL & GOSSETT | BOILER RM | D3040 | 132 | GAL | 30775.2281 | 2052
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (10-35 TON) | RTU-5, REPLACEMENT FUNDED | EAST LOWER ROOF | D3050 | 20 | TON | 266152.4801 | 2052
ELECTRICAL DISTRIBUTION NETWORK - HOSPITAL | 480V, 120V | ALL AREAS | D5010 | 95000 | SF | 10317631.7662 | 2052
PANELBOARD, 3 PH, 480/277V (301-500 AMP), INCL. BRK. | CDP/A, SQUARE D, 480V | ELECTRICAL RM | D5010 | 400 | AMP | 65474.7522 | 2052
PANELBOARD, 3 PH, 480/277V (501-700 AMP), INCL. BRK. | H/CH2, SQUARE D, 480V | EMERGENCY ELECTRICAL RM | D5010 | 600 | AMP | 75637.0134 | 2052
PANELBOARD, 3 PH, 480/277V (501-700 AMP), INCL. BRK. | EDP/A SECTION I, SQUARE D, 480V | ELECTRICAL RM | D5010 | 600 | AMP | 75637.0134 | 2052
PANELBOARD, 3 PH, 480/277V (501-700 AMP), INCL. BRK. | EDP/A SECTION II, SQUARE D, 480V | ELECTRICAL RM | D5010 | 600 | AMP | 75637.0134 | 2052
PANELBOARD, 3 PH, 480/277V (701-900 AMP), INCL. BRK. | GEN CNCT CABINET, EATON, 480V | WEST ELEVATION | D5010 | 800 | AMP | 69984.7118 | 2052
PANELBOARD, 3 PH, 208/120V (301-500 AMP), INCL. BRK. | 1C/A, SQUARE D, 120V | ELECTRICAL RM | D5010 | 400 | AMP | 46914.5698 | 2052
DOOR LOCK, COMMERCIAL-GRADE, EXTERIOR | LEVER | ROOFS | B2030 | 8 | EA | 22212.8982 | 2053
DOOR LOCK, COMMERCIAL-GRADE, EXTERIOR | LEVER | SELECT DOORS | B2030 | 3 | EA | 8329.8368 | 2053
DOOR PANIC HARDWARE, EXTERIOR | PANIC BAR | UPPER ROOF | B2030 | 1 | EA | 3544.7875 | 2053
DOOR PANIC HARDWARE, EXTERIOR | PANIC BAR | BLDG-WIDE | B2030 | 33 | EA | 116977.9882 | 2053
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CONDENSER #3 | NORTH LOWER ROOF | D3030 | 2.5 | TON | 15599.2023 | 2053
AC COIL AND FAN UNIT, NO HEAT (>3 TON) | AC-9 | UNKNOWN | D3030 | 5 | TON | 21241.0259 | 2053
PTAC, DX/ HP COOL, ELEC HEAT (>2 TON) | BMC INC, R-410A | ELEVATOR RM MECH PH | D3030 | 5 | TON | 30359.0494 | 2053
EXPANSION TANK, DIAPHRAGM (100-249 GAL) | CHWXT, AMTROL | CHILLER RM | D3040 | 132 | GAL | 31698.485 | 2053
DOOR AND FRAME, EXTERIOR, SWINGING, ALUMINUM AND GLASS | FULL-LITE ALUMINUM | ANNEX BLDG | B2030 | 2 | LEAF | 17292.3737 | 2054
FLOORING - LAMINATE PLANK, STANDARD | LAMINATE PLANK | PUBLIC CORRIDORS & ANNEX BLDG | C3020 | 17100 | SF | 515017.8118 | 2054
FLOORING - MED/LAB, CONDUCTIVE RUBBER, ROLL | MEDICAL SHEET RUBBER | EMERGENCY RMS | C3020 | 3710 | SF | 220343.5268 | 2054
PLUMBING FIXTURE - LAVATORY, COUNTER | PORCELAIN, INTEGRAL OR DROP-IN | ANNEX BLDG RESTROOMS | D2010 | 2 | EA | 4786.2563 | 2054
PLUMBING FIXTURE - SINK, SERVICE/LAUNDRY/UTILITY | FIBERGLASS | SELECT 1ST FL RMS | D2010 | 5 | EA | 24533.3596 | 2054
PLUMBING FIXTURE - SINK, SERVICE/LAUNDRY/UTILITY | STAINLESS STEEL, LARGE, SERVICE | SELECT 1ST FL RMS | D2010 | 5 | EA | 36800.0394 | 2054
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (10-35 TON) | RTU-3, RHEEM, R-410A, NO HEAT | EAST LOWER ROOF | D3050 | 10 | TON | 141180.5831 | 2054
PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (10-35 TON) | RTU-4, RHEEM, R-410A, NO HEAT | EAST LOWER ROOF | D3050 | 12.5 | TON | 176475.7289 | 2054
VARIABLE FREQUENCY DRIVE (>150 HP) | CHILLER #2 VFD, YORK | CHILLER RM | D5010 | 200 | HP | 146373.9744 | 2054
LIGHTNING PROTECTION | CABLE WITH RODS | PERIMETERS | D5090 | 8035 | SF | 36330.1217 | 2054
WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | FREEZER STRUCTURE, FRANK | KITCHEN | E1020 | 60 | SF | 61682.6927 | 2054
FLOORING - FLUID APPLIED, PAINT OR CLEAR SEAL | PAINTED CONCRETE | STAIRS | C3020 | 1920 | SF | 18212.6713 | 2055
DRAIN PIPING SYSTEM - HOSPITAL | CAST IRON, NO HUB | ALL AREAS | D2030 | 95000 | SF | 3329953.2457 | 2055
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CONDENSER #1 | NORTH LOWER ROOF | D3030 | 3 | TON | 19859.0325 | 2055
CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CNDR-7, LENNOX, R-410A | EAST ELEVATION | D3030 | 3 | TON | 19859.0325 | 2055
VARIABLE FREQUENCY DRIVE (<=5 HP) | AHU-6 VFD, ABB | 1ST FL SE MECH RM | D5010 | 5 | HP | 10811.5141 | 2055
VARIABLE FREQUENCY DRIVE (<=5 HP) | AHU-7 VFD, ABB | 1ST FL S MECH RM | D5010 | 5 | HP | 10811.5141 | 2055
VARIABLE FREQUENCY DRIVE (41-50 HP) | AHU-20 VFD, SCHNIEDER ELECTRIC | 1ST FL SW MECH RM | D5010 | 45 | HP | 37145.8399 | 2055
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | NORTH SIDE, LOTS & DRIVES | G2020 | 8818 | SY | 63413.8561 | 2055
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | EAST SIDE, LOTS & DRIVES | G2020 | 4265 | SY | 30671.365 | 2055
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | SOUTH SIDE, SERVICE DRIVE | G2020 | 733 | SY | 5271.3038 | 2055
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | SW CORNER, SERVICE LOTS & DRIVES | G2020 | 2925 | SY | 21034.8752 | 2055
CONCRETE VEHICULAR PAVING - STRIPE | ASPHALTIC CONCRETE | NE CORNER, DRIVE | G2020 | 1239 | SY | 8910.1574 | 2055
[5 empty] | TOTAL PROJECTED NEEDS 2026-2055 | 70763899.9277